## Instructions
Instructions for completing Interlaboratory PT result analysis for Normalized Error (En)
If you can not see the entire worksheet, zoom out till you can or Unfreeze Panes under the Window menu and scroll as necessary
When the sheet is complete and you have achieved acceptable results, save the worksheet as an electronic record of compliance with
your required PJLA 4 year PT plan.
1.) | The sheet opens with the cursor in cell D15
2.) | Enter yours labs calibration or test measurement result in cell D15 and press enter. The cursor will move to cell D16.
3.) | Enter the reference labs calibration or test measurement result in cell D16 and press enter. The cursor will move to cell D17.
4.) | Enter yours labs estimated measurement uncertainty for the calibration or test in cell D17 and press enter. The cursor will move to cell D18.
5.) | Enter the reference labs estimated measurement uncertainty for the calibration or test in cell D18 and press enter. The cursor will move to
cell B1 and display the result in cell D20. A statement will appear below the result indicating that it is acceptable or not acceptable based on
the value of the result.
6.) | Enter the name of your lab. This will over write the text "Place your Laboratories Name Here". Press enter. The cursor will move to cell B5.
7.) | Edit this line replacing the 4 question marks "????" with the name of the reference lab. Press enter. The cursor will move to cell B6.
8.) | Edit this line replacing the 4 question marks "????" with the name of the item or device which is the subject of the Proficiency Test. Press
enter. The cursor will move to cell B32.
9.) | Edit this line replacing the 4 question marks "????" with the year (Ex. 2010). This should comply with your PJLA approved 4 year PT plan.
Note: The cursor may be moved to any of the above referenced cells at any time. All other cells are protected.
This worksheet was developed using MS Excel 2003. It contains
no macro's and should function properly with all versions
If you encounter problems in the use of this spreadsheet, contact
Henry L. ALexander at PJLA headquarters for assistance
|  |  | 1-877-369-5227 | halexander@pjlabs.com

## Interlab PT Result Analysis
Place your Laboratories Name Here
PT Result Analysis
Reference Laboratory: ????
Proficiency Test of ????
Proficiency Test by Interlaboratory Comparison
Normalized Error Equation (En) Refer to PJLA Policy PL-1
Where Lab is the result obtained by your laboratory, Ref is the result obtained by the outside laboratory, to be used as reference, U95Lab is the expanded uncertainty of your laboratory at the 95% confidence level and U95Ref is the expanded uncertainty of the reference laboratory at the 95% confidence level. If the resulting Envalue is between 1 and -1 the laboratory is considered to have an acceptable measurement and a “meaningful” result. Values beyond the range of 1 and -1 (lower or higher) are typically considered unacceptable and indicate that the results of the respective laboratories are not in agreement.
Laboratory Result:
Reference Laboratory Result:
Laboratory Unc:
Reference Laboratory Unc:
En =
The analysis above is for PT results obtained from test
conducted in ????.
Note: PJLA PL-1 requires that your laboratory have an approved
4 year PT plan on file with PJLA Headquarters

## Completed Example Acceptable
Calibrations are US Inc.
PT Result Analysis
Reference Laboratory: CSA Calibrations
Proficiency Test of 6.0 in Caliper (0.0001 in resolution)
Proficiency Test by Interlaboratory Comparison
Normalized Error Equation (En) Refer to PJLA Policy PL-1
Where Lab is the result obtained by your laboratory, Ref is the result obtained by the outside laboratory, to be used as reference, U95Lab is the expanded uncertainty of your laboratory at the 95% confidence level and U95Ref is the expanded uncertainty of the reference laboratory at the 95% confidence level. If the resulting Envalue is between 1 and -1 the laboratory is considered to have an acceptable measurement and a “meaningful” result. Values beyond the range of 1 and -1 (lower or higher) are typically considered unacceptable and indicate that the results of the respective laboratories are not in agreement.
| Laboratory Result: | 1.0001
| Reference Laboratory Result: | 1.0002
| Laboratory Unc: | 9.9e-05
| Reference Laboratory Unc: | 9.3e-05
| En = | -0.73621
The PT Result is Acceptable
The analysis above is for PT results obtained from test
conducted in 2010.
Note: PJLA PL-1 requires that your laboratory have an approved
4 year PT plan on file with PJLA Headquarters

## Completed Example Unacceptable
Calibrations are US Inc.
PT Result Analysis
Reference Laboratory: Nice Try But No Cigar Calibrations
Proficiency Test of 6.0 in Caliper (0.0001 in resolution)
Proficiency Test by Interlaboratory Comparison
Normalized Error Equation (En) Refer to PJLA Policy PL-1
Where Lab is the result obtained by your laboratory, Ref is the result obtained by the outside laboratory, to be used as reference, U95Lab is the expanded uncertainty of your laboratory at the 95% confidence level and U95Ref is the expanded uncertainty of the reference laboratory at the 95% confidence level. If the resulting Envalue is between 1 and -1 the laboratory is considered to have an acceptable measurement and a “meaningful” result. Values beyond the range of 1 and -1 (lower or higher) are typically considered unacceptable and indicate that the results of the respective laboratories are not in agreement.
| Laboratory Result: | 1
| Reference Laboratory Result: | 1.0002
| Laboratory Unc: | 9.9e-05
| Reference Laboratory Unc: | 0.000132
| En = | -1.2121
The PT Result is Not Acceptable
The analysis above is for PT results obtained from test
conducted in 2010.
Note: PJLA PL-1 requires that your laboratory have an approved
4 year PT plan on file with PJLA Headquarters